## Slide 1
Shrouded Banana cables cut to appropriate length (EZ Hook 9138-60RED)

## Slide 2
To Foil unsegmented side
To HV supply (usually Ground side)
To HV Supply (HV side)
Fluke meter on mV scale move probe to each segemnt

## Slide 3
Socket R-3-CR crimped on shrouded banana cable, covered with heat shrink and slipped over spring pin. Spring ping is epoxied through Plexiglas window – makes contact on other side of window.